## RFC v2.1
General | Need to understand material and fittings used to confirm if requirements are correct
S. No | Topic | Remarks
1.1 | Nitin to propose alternate design
Need 1.1 ideally in wood
1.3 | The storage under the seating also needs louver doors and should look as an unified part of the vertical storage | Closed
Pls show (using accessories or otherwise) how the storage under the seating can be best used for keeping shoes
Reduce seat width to 3.5'
How do we select the colour/fabric of the back and seat cushion?
| For the vertical storage pls show a single door till the top. Don’t need a separate loft. Do you think this will be ok? | Closed
| Need 2 drawers with lock in the vertical storage, rest of the space can be equal partitions with shelves | Just confirming if drawers have locks
| In general, need the shelves that are removable. Pls call out where this is not the case. Also can we have (height) adjustable shelves | Closed
| Need polish/varnish (instead of white laminate) inside where ply maybe used | Closed
| Need 1.3 in wood | Closed
1.6 | What material and services are included in this? | Closed
2.1 | I presume installing the dummy on both sides will be done by DBI | Closed
Need 2.1 in wood
Pls propose a paint treatment on the wall between formal living and office room
2.3 | Bring CL1 and CL6 slightly to the right (along the center of the foyer section)? | Closed
| Pls factor 2 additional Wall Lights on the powder room wall | Closed
| CL2 doesn’t appear under the SB's. Should S2 be CL 2,5? | Closed
| What material and services are included in this? | Closed
We plan to put tiles on the formal living balcony walls. Can you include that in the RFC
3.1 | Need in wood
3.2 | Is the entire length of the mirror frosted, or is there some pattern on it? Can you pls propose some designs
3.3 | Need this in wood
3.5 | Need neutral white light everywhere (instead of warm white) | Closed
3.6 | I presume the hooks are for the 2 bells. The costing sheet says 'lights' | Need only 1 bell (on the right side)
4 | The depth of the shelf needs to be 18" on the right wall and 22" on the front wall | Closed
| How are the shelves resting? Need these removable | Closed
| Need polish/varnish (instead of laminate) | Closed
| Why do we have CAB1 (and of the said dimensions). Can we avoid the partition? | Closed
Where do we keep the ironing board here?
| Need to discuss/evaluate electrical works - sockets,lights | Closed
Can the bottom of the storage be open/floor is accessible?
5.1 | Need to revise the center & loft veneer to Senzura Twilight Call (F632) | Closed
| Need only 1 loft panel ideally (max 2). What brand of hydraulic mechanism are you proposing to use | Closed
| The (handle of the) leftmost cupboard should not hit into the wall | Closed
| Need to do away with the line in the middle of the wardrobes. | Closed
| Need locks on all 3 cupboards and the drawers | Closed
| It says "LOFT with lift up handle". What handle are we proposing? | One slide shows handles on the loft panel?
| It will be good to see the fittings accounted for these cupboads | Closed
| The shelf need to be removable. | Closed
| Need polish/varnish (instead of white laminate) inside | Closed
| Had asked for a full length mirror to be included in the right and center cupboard (inner) door. Hope that is there | Closed
5.3 | Behind mirror storage of dimensions wxdxh=18"x5"24". And additional storage on its left of 9" width (as shown in picture) | Closed
Use laminate Steel Frost (49946HGL SH V)
5.6 | What material and services are included in this? | Closed
Need an additional ceiling light point near the corner of the front wall and bathroom wall
6.1 | The height of the cabinet below the slab to be 20". | Closed
| Give a removable shelf at the bottom of the center unit | Closed
How will the doors be operated? (Are they push to open)
Make provision for a dustbin to be fixed on the inner panel
Use laminate Oyster Monochrome (21007)
7.1 | Need only 1 loft panel ideally. What brand of hydraulic mechanism are you proposing to use | Closed
| It says "LOFT with lift up handle". What handle are we proposing? | Closed
| It will be good to see the fittings accounted for these cupboads | Closed
| The shelf need to be removable. | Closed
| Need polish/varnish (instead of white laminate) inside | Closed
| Make the aristo panel completely mirror (remove the siam wood from the bottom). Also pls check if the profile can be steel colour (and not black) | Closed
Use Champagne profiles for Aristo sliding wardrobes in all rooms
| Instead of white marker board (on the loft, sides and toetrays), lets use Rugby Woodburst 49953CFRSHV. Wil that look fine | Closed
Instead of Rugby Woodburst, pls use White Oak Thud Crown F612
7.3 | How will the printer be plugged to the power? We will need a power socket up also.
Need a USB port to be included along with the power sockets. Also pls move the sockets to one side
| Hope the above shelves are removable as the printer has a flap that opens upwards | Closed
Pls give wheels to the credenza. It will be good if (atleast the front) wheels have locks
Pl use whiter marker board on the front wall, under the cabinet and the side between study table and cupboard
Can a metal plate be inserted behind the wall panelling so that magnets can be stuck there?
7.6 | Behind mirror storage of dimensions wxdxh=18"x5"24". And additional storage on its left of 9" width
Below counter cabinet wxdxh= 25"x22"x20"
Use laminate Steel Frost (49946HGL SH V)
8.1 | Need only 1 loft panel ideally. What brand of hydraulic mechanism are you proposing to use | Closed
| It says "LOFT with lift up handle". What handle are we proposing? | Closed
| It will be good to see the fittings accounted for these cupboads | Closed
| The shelf need to be removable. | Closed
| Need polish/varnish (instead of white laminate) inside | Closed
| Pls check if the profile can be steel colour (and not black) | Closed
Use Champagne profiles for Aristo sliding wardrobes in all rooms
| Instead of white marker board (on the loft, sides and toetrays), lets useDawn Woodburst 44796RH. Wil that look fine | Closed
Instead of Dawn Woodburst, pls use White Oak Thud Crown F612
8.7 | Behind mirror storage of dimensions wxdxh=18"x5"24". And additional storage on its left of 9" width
Use laminate Oyster Monochrome (21007)
9.1 | The carcass proposed is of a different design than what was shared. Any reason? Resharing the design here
The shelf need to be removable.
| Need polish/varnish (instead of white laminate) inside | Closed
| Pls use champagne matt for profile | Closed
| We can use Siam Wood for the toe trays and the 9" compartment | Closed
9.3 | Make depth 12" | Closed
Add a loft above
| In the main dresser, make it all equal sized shelves/compartments | Closed
Handles?
| We will need padding between the dresser and the wall | Closed
9.4 | Cover only the inner walls of the bay window with wood | Closed
9.8,9.9 | Can we make the 2 wall cabinets as 18"x36" | Closed
| The below counter cabinet height at 20". Also give a removable shelf to the base of center cabinet | Closed
| Drawers on the right side may not be easily operated | Closed
Use laminate Oyster Monochrome (21007)
10 | What is the height of the toe tray here? Acc to calculations it seems 2.8" - what will be the clear space then?
CAB 8 height may not be 782mm. Similarly CAB 7
Need a Louvre finish for panels of CAB7 & 8.
Pls move the MW and Oven next to the fridge. The MW can rest of the counter with the oven over it
We will need to revise the cabinets above the dishwasher as 2 x 3' wide cabinets
Can you pls redesign CAB 13,14,15 therefore
In the design ppt, pls show the close up of the MW/Oven corner
Pls suggest which sink (dimensions) is planned to be used? Can we meaningfully reduce width of cabinet 8 and adjust it in width of cabinet 7 & 9.
What is the design of the cabinet units - ex thali - big/small, bottom of units etc?
Nitin (from Enzio) to propose alternate tiles and laminate
Kitchen laminate - Monochrome Beige (21037)
11 | Pls redesign the utility
11.1 | Revise dimensions of storage. Use laminate Penumbra Glass (49929)
11.3 | Revise dimensions of storage to 2.5'x6.5'. Use laminate Penumbra Glass (49929)

## Sheet4
Cabinet | Unit | Width x Depth x height [mm]
CAB 1 | 3 Nos Pot & Pan | 1050 x 600 x 782 | 41.3386 | 31.9184
CAB 2 | 2 Nos Pot & Pan | 525 x 600 x 782 | 20.6693
CAB 3 | Corner cabinet | 700 x 600 x 882 | 27.5591 | 34.7244 | 2.806
CAB 4 | 3 Nos Pot & Pan | 900 x 600 x 782 | 35.4331
CAB 5 | Corner cabinet | 700 x 600 x 882 | 27.5591
CAB 6 | 3 Nos Pot & Pan | 600 x 600 x 782 | 23.622
CAB 7 | Double door – Sink unit | 725 x 600 x 782 | 28.5433
CAB 8 | 2 Nos Pot & Pan | 600 x 600 x 782 | 23.622
| CAB1, CAB3 | Pots & Pans | Lids
| CAB6 | Cutlery
| CAB2 | Plastic containers | Lids
| CAB6 | Full plates
| CAB1 | Masala
Glass Bowls
Atta
| CAB2 | Chakla, belan
| CAB5 | Onion, Potato
Mixer & Accessories
| CAB6 | Quarter Plates, Katoris
Glasses, Cups

## RFC v1
General | Need to understand material and fittings used to confirm if requirements are correct
S. No | Topic | Remarks
1.1 | Nitin to propose alternate design | Done
Need 1.1 ideally in wood
1.3 | The storage under the seating also needs louver doors and should look as an unified part of the vertical storage
Pls show (using accessories or otherwise) how the storage under the seating can be best used for keeping shoes
How do we select the colour/fabric of the back and seat cushion?
For the vertical storage pls show a single door till the top. Don’t need a separate loft. Do you think this will be ok?
Need 2 drawers with lock in the vertical storage, rest of the space can be equal partitions with shelves
In general, need the shelves that are removable. Pls call out where this is not the case. Also can we have (height) adjustable shelves
Need polish/varnish (instead of white laminate) inside where ply maybe used
Need 1.3 in wood
1.6 | What material and services are included in this?
2.1 | I presume installing the dummy on both sides will be done by DBI
Need 2.1 in wood
2.3 | Bring CL1 and CL6 slightly to the right (along the center of the foyer section)?
Pls factor 2 additional Wall Lights on the powder room wall
CL2 doesn’t appear under the SB's. Should S2 be CL 2,5?
What material and services are included in this?
3.1 | Need in wood
3.2 | Is the entire length of the mirror frosted, or is there some pattern on it? Can you pls propose some designs
3.3 | Need this in wood
3.5 | Need neutral white light everywhere (instead of warm white)
3.6 | I presume the hooks are for the 2 bells. The costing sheet says 'lights'
4 | The depth of the shelf needs to be 18" on the right wall and 22" on the front wall
How are the shelves resting? Need these removable
Need polish/varnish (instead of laminate)
Why do we have CAB1 (and of the said dimensions). Can we avoid the partition?
Where do we keep the ironing board here?
Need to discuss/evaluate electrical works - sockets,lights
5.1 | Need to revise the center & loft veneer to Senzura Twilight Call (F632)
Need only 1 loft panel ideally (max 2). What brand of hydraulic mechanism are you proposing to use
The (handle of the) leftmost cupboard should not hit into the wall
Need to do away with the line in the middle of the wardrobes.
Need locks on all 3 cupboards and the drawers
It says "LOFT with lift up handle". What handle are we proposing?
It will be good to see the fittings accounted for these cupboads
The shelf need to be removable.
Need polish/varnish (instead of white laminate) inside
Had asked for a full length mirror to be included in the right and center cupboard (inner) door. Hope that is there
5.3 | Behind mirror storage of dimensions wxdxh=18"x5"24". And additional storage on its left of 9" width (as shown in picture)
5.6 | What material and services are included in this?
6.1 | The height of the cabinet below the slab to be 20".
Give a removable shelf at the bottom of the center unit
7.1 | Need only 1 loft panel ideally. What brand of hydraulic mechanism are you proposing to use
It says "LOFT with lift up handle". What handle are we proposing?
It will be good to see the fittings accounted for these cupboads
The shelf need to be removable.
Need polish/varnish (instead of white laminate) inside
Make the aristo panel completely mirror (remove the siam wood from the bottom). Also pls check if the profile can be steel colour (and not black)
Instead of white marker board (on the loft, sides and toetrays), lets use Rugby Woodburst 49953CFRSHV. Wil that look fine
7.3 | How will the printer be plugged to the power? We will need a power socket up also.
Need a USB port to be included along with the power sockets
Hope the above shelves are removable as the printer has a flap that opens upwards
Pls give wheels to the credenza. It will be good if (atleast the front) wheels have locks
Can a metal plate be inserted behind the wall panelling so that magnets can be stuck there?
7.6 | Behind mirror storage of dimensions wxdxh=18"x5"24". And additional storage on its left of 9" width
Below counter cabinet wxdxh= 25"x22"x20"
8.1 | Need only 1 loft panel ideally. What brand of hydraulic mechanism are you proposing to use
It says "LOFT with lift up handle". What handle are we proposing?
It will be good to see the fittings accounted for these cupboads
The shelf need to be removable.
Need polish/varnish (instead of white laminate) inside
Pls check if the profile can be steel colour (and not black)
Instead of white marker board (on the loft, sides and toetrays), lets useDawn Woodburst 44796RH. Wil that look fine
8.7 | Behind mirror storage of dimensions wxdxh=18"x5"24". And additional storage on its left of 9" width
9.1 | The carcass proposed is of a different design than what was shared. Any reason? Resharing the design here
The shelf need to be removable.
Need polish/varnish (instead of white laminate) inside
Pls use champagne matt for profile
We can use Siam Wood for the toe trays and the 9" compartment
9.3 | Make depth 12" | 12"
Add a loft above
In the main dresser, make it all equal sized shelves/compartments
Handles?
We will need padding between the dresser and the wall
9.4 | Cover only the inner walls of the bay window with wood
9.8,9.9 | Can we make the 2 wall cabinets as 18"x36"
The below counter cabinet height at 20". Also give a removable shelf to the base of center cabinet
Drawers on the right side may not be easily operated

## Sheet3 (hidden)
Office bath
Below Sink | 25"x22"x20" | wxdxh
Above sink | Mirror | 24"x5"x24"
Extension
Powder
wxdxh | 37x21x20 | 12x12x12
Guest
Above sink | Mirror | 22x5x24
| Extension |  | 64260 | 257040
203490
Dresser | 18X12 (24)xtop
Master Bath
Below sink | 72x22x20 | 24x24x24
abve | 16x36x
bay | 26x74
8.5+4.5)x74
top | 70x28

## Master Bedroom
Inch | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76 | 78 | 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100 | 102 | 104 | 106 | 108 | 110 | 112 | 114 | 116 | 118 | 120 | 122 | 124 | 126 | 128 | 130 | 132 | 134 | 136 | 138 | 140 | 142 | 144 | 146 | 148 | 150 | 152 | 154 | 156 | 158 | 160 | 162 | 164 | 166 | 168 | 170 | 172 | 174 | 176 | 178 | 180 | 182 | 184 | 186 | 188
2 | LOFT | [58 empty] | LOFT | [16 empty] | LOFT
4
6
8
10
12
14
16
18
20
22
24 | [18 empty] | SHELF |  |  |  |  | SHELF
26 | ROD | [28 empty] | ROD | [29 empty] | ROD | [16 empty] | ROD
28 | SHELF
30
32
34
36
38 | [18 empty] | SHELF |  |  |  |  | SHELF
40
42
44
46
48
50
52 | [18 empty] | SHELF |  |  |  |  | SHELF
54
56
58
60
62
64 | [18 empty] | DRAWER |  |  |  |  | DRAWER | [40 empty] | DRAWER | [5 empty] | DRAWER
66 | DRAWER | [8 empty] | DRAWER | [19 empty] | ROD | [46 empty] | DRAWER | [8 empty] | DRAWER
68 | [29 empty] | What is the minimal yet meaningful size for this corner?
70
72
74 | SHELF | [63 empty] | SHELF | [11 empty] | SHELF
76 | [18 empty] | SHELF |  |  |  |  | SHELF
78
80
82
84
86
88 | SHELF | [17 empty] | SHELF |  |  |  |  | SHELF | [40 empty] | SHELF | [11 empty] | SHELF
90
92
94
96
98
100
102
104 | SHOES | [58 empty] | SHOES
106
108
110
ARISTO: Brown tinted mirror (Full)